Viva Preparation - Questions and Answers

An Intelligent Deep Learning-Based System for Bone Tumor Classification Using X-Ray Images

N. Nandini - N. Rupa Lakshmi - P. Varshitha  |  Guide: Asst. Prof. Vineela  |  Malla Reddy University

Key numbers to remember: 1,867 images (1,525 benign / 342 malignant) - test set 281 (51 malignant) - accuracy 0.890 - ROC-AUC 0.945 - malignant precision 0.692, recall 0.706, F1 0.699 - confusion matrix 214 / 16 / 15 / 36 - augmentation raised recall 0.608 -> 0.706.

# Problem and motivation

Q1. What problem does your project solve?

It classifies a bone-tumor X-ray as benign or malignant and shows which regions influenced the decision (Grad-CAM) with a plain-language explanation. It is a preliminary screening aid; a radiologist must review every result.

Q2. Why is this problem important?

X-ray is the first imaging test for bone tumors. Malignant tumors such as osteosarcoma need urgent referral, while manual reading is slow, needs specialists and varies between observers.

Q3. Is your system a diagnostic tool?

No. It was evaluated on one public dataset without external or clinical validation. We present it only as a research prototype for preliminary support.

# Dataset

Q4. Which dataset did you use?

BTXRD (Bone Tumor X-ray Radiograph Dataset), Yao et al., Scientific Data 2025, CC BY 4.0. It has 3,746 radiographs; we used the 1,867 tumor images: 1,525 benign and 342 malignant.

Q5. Why didn't you use the normal images?

Our scope, defined in Review 1, is benign vs malignant classification. Normal-vs-tumor detection is listed as future work.

Q6. How did you split the data?

70/15/15 stratified split with random seed 42: 1,306 train, 280 validation, 281 test (51 malignant in test). The test set was used only once, for the final evaluation.

Q7. Your dataset is imbalanced. How did you handle it?

Malignant is only 18.3% of images. We used a class-weighted cross-entropy loss (weights 0.613 benign, 2.721 malignant, inversely proportional to class frequency) and selected the model by malignant F1-score rather than accuracy.

We also report precision, recall and F1 for the malignant class, because accuracy alone is misleading on imbalanced data.

Q8. Could there be data leakage?

Possibly. BTXRD has no patient IDs, so different views of the same patient might appear in both train and test sets. This could make the results somewhat optimistic; we state it as a limitation.

# Preprocessing and augmentation

Q9. What preprocessing do you apply?

EXIF orientation fix, 16-bit to 8-bit rescaling, grayscale conversion, downscaling to at most 512 px, replicating to 3 channels, resizing to 224 x 224, and ImageNet mean/std normalisation. The same function is used in training and in the app.

Q10. Why convert grayscale to 3 channels?

ResNet50 was pretrained on 3-channel RGB ImageNet images; replicating the channel lets us reuse the pretrained weights unchanged.

Q11. Which augmentations did you use, and why?

Random resized crop (80-100%), horizontal flip, rotation +/-15 degrees, 5% translation, brightness/contrast 20%. They simulate natural variation in positioning and exposure and reduce overfitting. Applied to training images only.

Q12. Did augmentation actually help?

Yes. In our ablation on the same split, augmentation raised malignant recall from 0.608 to 0.706, F1 from 0.639 to 0.699 and ROC-AUC from 0.901 to 0.945; missed malignant tumors fell from 20 to 15. Each setting was trained once, so part of the gap may be run-to-run variation.

# Model and training

Q13. Why ResNet50?

It is a proven architecture with residual (skip) connections that make deep networks trainable, it has strong ImageNet weights for transfer learning, and it is widely used in the related bone-tumor literature, so our results are comparable.

Q14. What is a residual connection?

The block learns F(x) and outputs F(x) + x. The identity path lets gradients flow directly to earlier layers, avoiding the vanishing-gradient and degradation problems of very deep plain networks.

Q15. What is transfer learning, and how did you apply it?

We start from ImageNet-pretrained weights instead of random ones. Stage 1: freeze the backbone and train only the new head for 5 epochs (lr 1e-3). Stage 2: unfreeze layer3 and layer4 and fine-tune for up to 20 epochs at lr 1e-4.

Training the head first stops large random gradients from destroying the pretrained features.

Q16. Describe your classification head.

Dropout 0.4 -> Linear 2048->256 -> ReLU -> Dropout 0.3 -> Linear 256->2, followed by softmax for the two class probabilities.

Q17. Which optimizer and settings?

AdamW (weight decay 1e-4), batch size 32, ReduceLROnPlateau on validation F1, and early stopping with patience 6. The best model was at epoch 18 with validation F1 0.743.

Q18. How did you detect overfitting?

Training accuracy reached about 0.99 while validation accuracy stayed at 0.87-0.90. Early stopping, dropout, weight decay and augmentation limit this, and we keep the checkpoint with the best validation F1.

Q19. What framework and hardware?

PyTorch 2.14 with torchvision. Trained on an Apple-silicon GPU (MPS) in about 25 minutes; it also runs on NVIDIA GPUs, CPU and Google Colab.

# Results and metrics

Q20. What are your final results?

On 281 held-out test images: accuracy 0.890, ROC-AUC 0.945; for the malignant class precision 0.692, recall 0.706, F1 0.699. Benign F1 is 0.933; macro F1 is 0.816.

Q21. Explain your confusion matrix.

Of 230 benign images, 214 were correct and 16 were false alarms. Of 51 malignant images, 36 were detected and 15 were missed (false negatives). In total there were 31 errors.

Q22. Define precision, recall and F1.

Precision = TP/(TP+FP) = 36/52 = 0.692. Recall = TP/(TP+FN) = 36/51 = 0.706. F1 is their harmonic mean = 0.699.

Malignant is treated as the positive class.

Q23. Accuracy is 89%. Why not just report that?

A model that always predicts benign would score 82% (230/281) and detect nothing. The malignant-class recall and F1 show the real performance.

Q24. Which error is worse here?

A false negative (missed malignant tumor), because it can delay treatment. Improving recall, for example by lowering the decision threshold, is our main future work.

Q25. What does ROC-AUC 0.945 mean?

If we pick one random malignant and one random benign image, the model gives the malignant one a higher malignant score about 94.5% of the time. It is independent of the 0.5 threshold.

Q26. How do your results compare with published work?

Published studies use different datasets, splits and class definitions, so the numbers are not directly comparable. Our contribution is a reproducible pipeline on a public dataset with an ablation and explanations. [Add any comparison your guide asks for.]

# Explainability

Q27. What is Grad-CAM?

Gradient-weighted Class Activation Mapping. It takes the gradients of the predicted class score with respect to the last convolutional feature maps (ResNet50 layer4), averages them into per-channel weights, takes a weighted sum of the maps and applies ReLU. The result is a heatmap of the regions that increased that class score.

Q28. How do you know the heatmap is genuine?

We ran a model-randomisation sanity check: with randomised weights the map changes completely (correlation -0.29 with the trained map), and maps differ between images and classes. A fake or input-only heatmap would not change.

Q29. What does the explanation text contain?

The predicted class and confidence, the margin between the two scores, where the strongest evidence lies and how large it is, a warning if attention falls on background, and how often test-set predictions of similar confidence were correct (95.4% for high, 67.9% for moderate, 21.4% for low confidence).

Q30. Does Grad-CAM prove the model is right?

No. It shows where the model looked, not whether it was right. For example IMG001690 is malignant, the heatmap is on the lesion, yet it is predicted benign with 93.9% confidence. In one benign pelvis case the map partly highlights the 'R' side marker, which may indicate shortcut learning.

# Implementation and demo

Q31. How is the system deployed?

As a Gradio web app (python src/app.py -> http://127.0.0.1:7860), a command-line predictor, Windows batch scripts and a Google Colab notebook.

Q32. What happens if someone uploads a wrong file?

Unreadable files, images smaller than 64 x 64 px and blank images are rejected with clear messages. The app refuses to start if the model file is missing or has different classes. It cannot detect a non-X-ray image, which is a stated limitation.

Q33. How did you verify the app matches your evaluation?

We ran all 281 test images through the app's code path. Predictions matched the evaluation script (maximum difference 3 x 10^-7), and uploading the original full-resolution files gave the same 281 predictions.

Q34. Is your work reproducible?

Yes. Fixed seed 42, the split is saved in splits.json, library versions are pinned in requirements.txt, and train.py and evaluate.py regenerate every number and figure.

# Limitations and future work

Q35. What are the main limitations?

Few malignant images (342), no patient-level split, a single dataset without external validation, one training run per setting, no out-of-distribution rejection, and Grad-CAM can highlight non-anatomical markers.

Q36. What would you do next?

More malignant and multi-centre data; patient-level splits and external validation; threshold tuning for higher sensitivity; comparisons with EfficientNet, DenseNet and Vision Transformers; tumor-subtype classification; and localisation using BTXRD's masks.

Q37. What did each team member do?

[Fill in: e.g. dataset and preprocessing - N. Nandini; model training and evaluation - N. Rupa Lakshmi; Grad-CAM, app and documentation - P. Varshitha.]